# Appendix

A.1 Recent catastrophic failures of large offshore wind turbine blades

Fig. A1 summarizes typical structural failure cases of rotor blades in the offshore wind farms all over the world. The blade failure rates are high for current multi-megawatt class wind turbines.

Fig. A1. Frequent early-stage catastrophic failures of rotor blades in recent years, accompanied by​ the upscaling of offshore wind turbines to 20-megawatt (MW) class.

A.2 Comparison of the external nodal force distribution

Table A1 and Figs. A2-A4 present the characteristics of the external nodal force distribution based on two load reconstruction methods.

Table A1 Nodal force comparison between Method QZB = 0 (spanwise force neglected) and Method QZB ≠ 0 (spanwise force considered)

| Nodal force | Method | Maximum (N) | Minimum (N) | Range (N) | Mean (N) |
| --- | --- | --- | --- | --- | --- |
| fXB | QZB = 0 | 493.291 | −521.333 | 1014.624 | 6.047 |
|  | QZB ≠ 0 | 540.629 | −568.253 | 1108.882 | 6.392 |
| fYB | QZB = 0 | 55.805 | −42.831 | 98.636 | −0.476 |
|  | QZB ≠ 0 | 239.350 | −249.291 | 488.641 | −0.550 |
| fZB | QZB = 0 | 0 | 0 | 0 | 0 |
|  | QZB ≠ 0 | 12.516 | −3.334 | 15.850 | 6.603 |

Fig. A2. Contour plots of the flapwise nodal force fXB calculated via two load reconstruction methods: with the spanwise force neglected (QZB = 0) and considered (QZB ≠ 0).

Fig. A3. Contour plots of the lead-lag nodal force fYB calculated via two load reconstruction methods: with the spanwise force neglected (QZB = 0) and considered (QZB ≠ 0).

Fig. A4. Contour plots of the spanwise nodal force fZB calculated via two load reconstruction methods: with the spanwise force neglected (QZB = 0) and considered (QZB ≠ 0).